## deployments
Waterbody | Station_Name | Depl_Date | Configuration | Recv_Method | Status | Notes
Annapolis Basin | 5004 | 2021-06-18 | unknown | Diver | Currently_Deployed | NA
Annapolis Basin | 5005 | 2021-05-14 | attached to gear | Diver | Retrieved | NA
Annapolis Basin | 5006 | 2021-05-14 | attached to gear | Diver | Retrieved | NA
Annapolis Basin | Cornwallis | 2020-06-11 | sub-surface buoy | Acoustic_Release | Retrieved | Strings deployed in position at rising tide.Chart datum in position for strings was 4m with a depth of 10.5m at deployment
Annapolis Basin | Cornwallis | 2020-11-22 | sub-surface buoy | Acoustic_Release | Retrieved | Tide 6.8m rising
Annapolis Basin | Cornwallis | 2021-06-16 | sub-surface buoy | Acoustic_Release | Lost | Leeway attempted recovery on June 20, 2022. VR2AR did not respond.
Annapolis Basin | Cornwallis | 2022-08-23 | sub-surface buoy | Acoustic_Release | Currently_Deployed | Acoustic release didnâ€™t release so diver Bob Weeb attempted to retrieve 2021 mooring
Annapolis Basin | Lobster Ledge | 2020-06-11 | sub-surface buoy | Acoustic_Release | Retrieved | Strings deployed with tide rising.sea state a bit rough.14.7m depth of water at deployment at half tide.
Annapolis Basin | Lobster Ledge | 2020-11-22 | sub-surface buoy | Acoustic_Release | Retrieved | Tide 7.2m rising
Annapolis Basin | Lobster Ledge | 2021-06-16 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Annapolis Basin | Lobster Ledge | 2022-06-20 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Antigonish Harbour | Southside | 2021-06-03 | sub-surface buoy | Grapple | Retrieved | NA
Antigonish Harbour | Southside | 2021-06-24 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Antigonish Harbour | Southside | 2021-10-20 | sub-surface buoy | Acoustic_Release | Retrieved | HOBO changed; DOT & VR2 offloaded and redeployed. String shortened.
Antigonish Harbour | Southside | 2022-05-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Antigonish Harbour | Southside | 2022-10-20 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Arichat Harbour | 667 | 2015-11-26 | attached to gear | Attached to Gear | Retrieved | NA
Arichat Harbour | 0716 Center | 2015-11-26 | unknown | Drag_Line | Lost | data was accidently deleted from ArcGIS collector
Arichat Harbour | 0716 Center | 2018-12-12 | sub-surface buoy | Acoustic_Release | Retrieved | Drag Anchor Coordinates: 45.50130, -61.04167
Arichat Harbour | 0716 Center | 2019-04-09 | sub-surface buoy | Acoustic_Release | Lost | Drag Anchor WP# 105: 45.50156, -61.04188 April 2020 - Leeway unable to locate dragline
Arichat Harbour | Cape Auguet | 2020-04-30 | sub-surface buoy | Acoustic_Release | Retrieved | Launched at low tide and the bigger float is around 1.5m below the water surface.The location is very congested with other floats.
Arichat Harbour | Cape Auguet | 2020-12-03 | sub-surface buoy | Acoustic_Release | Retrieved | Tide 0.85m falling. The location is very congested with other floats.
Arichat Harbour | Cape Auguet | 2021-09-15 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Arichat Harbour | Cape Auguet | 2022-07-28 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Arichat Harbour | Cape Auguet Bay | 2021-06-14 | surface buoy | Surface_Buoy | Currently_Deployed | NA
Arichat Harbour | Eastern Passage | 2018-12-12 | sub-surface buoy | Acoustic_Release | Retrieved | Drag Anchor: 45.49011, -61.03878
Arichat Harbour | Kavanagh Point | 2015-11-26 | attached to gear | Attached to Gear | Retrieved | NA
Arichat Harbour | Kavanagh Point | 2016-09-01 | attached to gear | Attached to Gear | Retrieved | NA
Aspotogan Harbour | Saddle Island | 2015-11-17 | attached to gear | Attached to Gear | Retrieved | String tied to cage 3 (see field notes)
Aspy Bay | North Harbour | 2018-11-01 | unknown | Drag_Line | Retrieved | NA
Bay of Rocks | Les Rochers | 2018-12-21 | sub-surface buoy | Acoustic_Release | Retrieved | Drag Anchor: 45.52995, -60.92360
Beaver Harbour | Beaver Point | 2018-02-28 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Beaver Harbour | Beaver Point | 2018-09-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Beaver Harbour | Beaver Point | 2019-04-12 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Beaver Harbour | Beaver Point | 2019-10-20 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Beaver Harbour | Beaver Point | 2020-12-12 | sub-surface buoy | Acoustic_Release | Retrieved | Tide 0.74m falling. HOBOs offloaded, DOT & VR2 replaced. No response to release code upon first retrieval attempt. Recovered by diver August 9, 2021.
Bras d'Or Lakes | Barra Strait North | 2016-09-21 |  | Diver | Lost | on Grand Narows side of channel
Bras d'Or Lakes | Barra Strait North | 2018-08-13 |  | Diver | Currently_Deployed | on Grand Narows side of channel
Bras d'Or Lakes | Barra Strait South | 2016-09-21 |  | Diver | Retrieved | on Iona side of channel
Bras d'Or Lakes | Barra Strait South | 2018-08-13 |  | Diver | Currently_Deployed | on Iona side of channel
Bras d'Or Lakes | Denys Basin East | 2016-09-20 |  | Diver | Retrieved | at Portage end of Boom Channel
Bras d'Or Lakes | Denys Basin East | 2018-09-06 |  | Diver | Currently_Deployed | at Portage end of Boom Channel
Bras d'Or Lakes | Denys Basin West | 2016-09-20 |  | Diver | Retrieved | at Deny's Basein end of Boom Channel
Bras d'Or Lakes | Denys Basin West | 2018-09-06 |  | Diver | Currently_Deployed | at Deny's Basin end of Boom Channel
Bras d'Or Lakes | Great Bras d'Or Channel NE-E | 2016-09-15 |  | Diver | Retrieved | on Boulardrie Is. side
Bras d'Or Lakes | Great Bras d'Or Channel NE-E | 2018-08-24 |  | Diver | Currently_Deployed | on Boulardrie Is. Side
Bras d'Or Lakes | Great Bras d'Or Channel NE-W | 2016-09-15 |  | Diver | Retrieved | on New Campbelton side
Bras d'Or Lakes | Great Bras d'Or Channel NE-W | 2018-08-24 |  | Diver | Currently_Deployed | on New Campbelton side
Bras d'Or Lakes | Great Bras d'Or Channel SW-E | 2016-09-16 |  | Diver | Retrieved | on Boulardrie Is. Side
Bras d'Or Lakes | Great Bras d'Or Channel SW-E | 2018-07-20 |  | Diver | Currently_Deployed | on Boulardrie Is. Side (no ser.# recorded)
Bras d'Or Lakes | Great Bras d'Or Channel SW-W | 2016-09-16 |  | Diver | Retrieved | on Big Harbour side
Bras d'Or Lakes | Great Bras d'Or Channel SW-W | 2018-07-20 |  | Diver | Currently_Deployed | on Big Harbour side
Bras d'Or Lakes | Little Bras d'Or Channel | 2016-09-13 |  | Diver | Retrieved | near entrance at Alder Point
Bras d'Or Lakes | Little Bras d'Or Channel | 2018-05-30 |  | Diver | Currently_Deployed | Near Entrance at Alder Point
Bras d'Or Lakes | Little Narrows - N | 2016-09-20 |  | Diver | Retrieved | near Gypsum wharf
Bras d'Or Lakes | Little Narrows - N | 2018-06-01 |  | Diver | Currently_Deployed | Near Gypsum Wharf
Bras d'Or Lakes | Little Narrows - S | 2016-09-20 |  | Diver | Retrieved | at far NE end of the Bay, near channel
Bras d'Or Lakes | Little Narrows - S | 2018-06-01 |  | Diver | Currently_Deployed | Far NE End of Bay
Bras d'Or Lakes | Nyanza Bay - E | 2016-09-14 |  | Diver | Retrieved | in Channel
Bras d'Or Lakes | Nyanza Bay - E | 2018-07-05 |  | Diver | Currently_Deployed | In Channel
Bras d'Or Lakes | Nyanza Bay - W | 2016-09-14 |  | Diver | Retrieved | near shore
Bras d'Or Lakes | Nyanza Bay - W | 2018-07-05 |  | Diver | Currently_Deployed | Near shore
Bras d'Or Lakes | St. Andrews Channel - E | 2016-09-13 |  | Diver | Retrieved | at far North end near channel
Bras d'Or Lakes | St. Andrews Channel - E | 2018-05-30 |  | Diver | Currently_Deployed | Far North End, Near Channel
Bras d'Or Lakes | St. Patricks Channel | 2018-06-01 |  | Diver | Currently_Deployed | On Gypsum Wharf
Bras d'Or Lakes | St. Peters Canal - N | 2016-09-23 |  | Diver | Retrieved | near anoxia zone
Bras d'Or Lakes | St. Peters Canal - N | 2018-09-07 |  | Diver | Currently_Deployed | near anoxia zone
Bras d'Or Lakes | St. Peters Canal - S | 2016-09-23 |  | Diver | Retrieved | in hypoxic zone outside the Lake
Caribou Harbour | Waterside | 2017-06-24 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Chance Harbour | Chance Harbour | 2018-05-27 | attached to gear | Attached to Gear | Retrieved | AANS Vibrio Project
Chance Harbour | Inner Harbour | 2017-06-28 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Chebogue Harbour | Big Pond Point | 2021-07-08 | sub-surface buoy | Acoustic_Release | Retrieved | Tide at 2.7m on deployment, depth of instruments based on low tide of 1m
Chebogue Harbour | Big Pond Point | 2021-11-09 | sub-surface buoy | Acoustic_Release | Retrieved | Tide at 1.7m on deployment.
Chebogue Harbour | Big Pond Point | 2022-06-21 | sub-surface buoy | Acoustic_Release | Currently_Deployed | DOT 671021 missing upon retrieval, broken ziptie on line.
Chedabucto Bay | Moose Point | 2018-02-27 | sub-surface buoy | NA | Retrieved | NA
Chedabucto Bay | Moose Point | 2018-07-04 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Moose Point | 2019-04-15 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Moose Point | 2020-02-24 | sub-surface buoy | Acoustic_Release | Retrieved | Relocate
Chedabucto Bay | Moose Point | 2020-10-21 | sub-surface buoy | Acoustic_Release | Retrieved | DOT replaced with calibrated DOT.
Chedabucto Bay | Moose Point | 2021-08-24 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Moose Point | 2022-07-27 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Chedabucto Bay | Rook Island | 2018-02-27 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Chedabucto Bay | Rook Island | 2018-07-04 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Rook Island | 2019-04-15 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Rook Island | 2020-05-21 | sub-surface buoy | Acoustic_Release | Retrieved | Redeployment back to the same position retrieved from.
Chedabucto Bay | Rook Island | 2020-10-21 | sub-surface buoy | Acoustic_Release | Retrieved | Redeployment back to the same position retrieved from. DOT replaced
Chedabucto Bay | Rook Island | 2021-08-24 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Rook Island | 2022-07-27 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Chedabucto Bay | Sandy Cove Chedabucto | 2019-02-04 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Sandy Cove Chedabucto | 2019-04-15 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Sandy Cove Chedabucto | 2020-02-24 | sub-surface buoy | Acoustic_Release | Retrieved | Relocate
Chedabucto Bay | Sandy Cove Chedabucto | 2020-10-21 | sub-surface buoy | Acoustic_Release | Retrieved | Redeployed back to the same position,DOT replaced.
Chedabucto Bay | Sandy Cove Chedabucto | 2021-08-24 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Sandy Cove Chedabucto | 2022-07-27 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Chedabucto Bay | Tickle Island | 2018-11-19 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Tickle Island | 2019-04-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Tickle Island | 2020-02-24 | sub-surface buoy | Acoustic_Release | Retrieved | Relocation to new wp009
Chedabucto Bay | Tickle Island | 2020-10-21 | sub-surface buoy | Acoustic_Release | Retrieved | Replaced HOBOs at 15m & 40m (10034842 & 10034850 respectively) due to low battery.
Chedabucto Bay | Tickle Island | 2021-08-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Chedabucto Bay | Tickle Island | 2022-07-27 | sub-surface buoy | Acoustic_Release | Currently_Deployed | Extra weight and buoy added
Chedabucto Bay | Xeos Buoy | 2020-07-07 | surface buoy | Surface_Buoy | Currently_Deployed | NA
Country Harbour | 1 | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Country Harbour | 1 | 2015-11-17 | attached to gear | Attached to Gear | Retrieved | NA
Country Harbour | 1 | 2016-05-23 | attached to gear | NA | Lost | Block #2, last line away from the shore (#14), at the end of the end of the line closest to ferry
Country Harbour | 622 | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Country Harbour | 622 | 2016-05-23 | attached to gear | NA | Lost | At south end of the line (closest to ferry)
Country Harbour | 1307 | 2018-12-20 | sub-surface buoy | Acoustic_Release | Retrieved | Drag Anchor: 45.15992, -61.67980
Country Harbour | 1307 | 2019-04-02 | sub-surface buoy | Acoustic_Release | Retrieved | Drag Anchor @ 45.16012, -61.67964
Country Harbour | West Ferry Ramp | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Country Harbour | West Ferry Ramp | 2016-05-23 | attached to gear | NA | Lost | Block #1, last line away from the shore (#4), at the end of the end of the line away from ferry
Country Harbour | West Ferry Ramp | 2018-07-12 | attached to gear | Attached to gear | Retrieved | NA
Country Harbour | West Ferry Ramp | 2018-10-25 | attached to gear | Attached to Gear | Retrieved | NA
Country Harbour | West Ferry Ramp | 2019-04-18 | attached to gear | Attached to gear | Lost | Single remaining line? Between Blue, Black buoy. Not found by Leeway - September 14, 2021
Denas Pond | 193 | 2018-10-30 |  | Drag_Line | Retrieved | NA
Denas Pond | 193 | 2019-08-13 | sub-surface buoy | Acoustic_Release | Retrieved | Accompanied deployment of Argonaut ADV
Dover Bay | Madeline Point | 2019-02-04 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Dover Bay | Madeline Point | 2019-04-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Dover Bay | Madeline Point | 2020-02-26 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Dover Bay | Madeline Point | 2020-10-20 | sub-surface buoy | Acoustic_Release | Retrieved | Sensor string completely replaced i.e Hobos,DOT and Vr2ar to reduce the amount of time spend on the water due to the rough sea state.
Dover Bay | Madeline Point | 2021-09-15 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Dover Bay | Madeline Point | 2022-07-28 | sub-surface buoy | Acoustic_Release | Currently_Deployed | ADDED ExTRAbuoy and anchor
Dover Bay | Seal Cove | 2018-08-07 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Dover Bay | Seal Cove | 2019-04-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Dover Bay | Seal Cove | 2020-02-26 | sub-surface buoy | Acoustic_Release | Retrieved | Relocation
Dover Bay | Seal Cove | 2020-10-20 | sub-surface buoy | Acoustic_Release | Retrieved | New string deployed, all sensors replaced 3 HOBOs, 1 DOT & VR2
Dover Bay | Seal Cove | 2021-09-15 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Dover Bay | Seal Cove | 2022-07-28 | sub-surface buoy | Acoustic_Release | Currently_Deployed | Rope was slighty twisted and kinky
Fishermans Harbour | Meal Rock | 2018-08-08 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Fishermans Harbour | Meal Rock | 2019-04-02 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Fishermans Harbour | Meal Rock | 2020-05-20 | sub-surface buoy | Acoustic_Release | Retrieved | Changed 3 tidbits to HOBOs ,also found one extra SAL on the strings at 2m just at the first tidbits but unfortunately it was giving error and data couldnâ€™t be downloaded from it,All batteries changed and the sensors recalibrated before lunching back to the original position.
Fishermans Harbour | Meal Rock | 2020-10-19 | sub-surface buoy | Acoustic_Release | Retrieved | Low tide 0.31m, SAL firmware updated, HOBOs & DOT replaced
Fishermans Harbour | Meal Rock | 2021-09-14 | sub-surface buoy | Acoustic_Release | Lost | Leeway attempted recovery on July 15, 2022. VR2AR did not respond.
Fishermans Harbour | Meal Rock | 2022-10-31 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
French Channel | Robinson Cove | 2017-06-28 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
French Channel | Robinson Cove | 2018-05-22 | attached to gear | Attached to Gear | Retrieved | AANS Vibrio Project
Grahams Cove | Captains Pond | 2020-10-01 | sub-surface buoy | Acoustic_Release | Retrieved | Launched from Antigonish Boat Club, off Seabright Rd
Grahams Cove | Captains Pond | 2021-06-03 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Grahams Cove | Captains Pond | 2022-05-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Grahams Cove | Captains Pond | 2022-10-20 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Green Harbour | Blue Island | 2018-02-13 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Green Harbour | Blue Island | 2018-05-14 | sub-surface buoy | Acoustic_Release | Retrieved | Upon download of data saw that logging stopped on 2018-06-13. Upon further investigation this was due to filling up memory (64 kb). This is due to incorrect config of 1 min logging interval instead of 1 hr interval.
Green Harbour | Blue Island | 2019-06-14 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Green Harbour | Blue Island | 2020-06-17 | sub-surface buoy | Acoustic_Release | Retrieved | String retreived and data were retrieved from the sensors.Redeployed back at falling tide.100% marine growth on the bigger float and about 80% on the small float with the sensors. Batteries and canister were replaced.
Green Harbour | Blue Island | 2021-08-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Green Harbour | Blue Island | 2022-08-11 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Green Harbour | Little Harbour | 2022-08-11 | sub-surface buoy | Acoustic_Release,Surface_Buoy,Drag_Line | Currently_Deployed | NA
Havre Boucher | Ile du Havre | 2017-06-15 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Havre Boucher | Ile du Havre | 2018-07-24 | attached to gear | Attached to Gear | Retrieved | No Location Provided - AANS Vibrio Project
Hourglass Lake | Hourglass Lake | 2019-10-02 | sub-surface buoy | Acoustic_Release | Retrieved | Temp at deployment time: Bottom = 13.1C, Surface = 16.5C. Deployment Voltage=1.65V. 3 Chain Link Anchor
Indian Harbour | Barachois | 2018-08-08 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Indian Harbour | Barachois | 2019-07-02 | sub-surface buoy | Acoustic_Release | Retrieved | TidbiT MX2303 20397535 from previous deployment replaced with HOBO Pro V2 20495250, logging interval 15m, full battery.
Jordan Bay | Inner Jordan Bay | 2022-07-15 | sub-surface buoy | Acoustic_Release,Drag_Line | Retrieved | Edgetech AR 53088 or 56251
Lennox Passage | Cascarette Island | 2021-06-14 | surface buoy | Surface_Buoy | Currently_Deployed | NA
Lennox Passage | Gabion Shoal | 2018-12-21 | sub-surface buoy | Acoustic_Release | Retrieved | Drag Anchor: 45.60285, -60.90180
Lennox Passage | Gabion Shoal | 2019-04-10 | sub-surface buoy | Acoustic_Release | Lost | Drag Anchor WP#108: 45.60274, -60.90325 April 2020 - Leeway unable to locate dragline
Little Harbour | Little Harbour | 2020-08-19 | sub-surface buoy | Acoustic_Release | Lost | Low tide, 2 HOBOs, 1 DOT, VR2AR. HOBO 20820366 and AmDOT 670355 missing upon retrieval
Little Harbour | Little Harbour | 2021-08-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Little Harbour | Melmerby Beach | 2020-10-01 | sub-surface buoy | Acoustic_Release | Retrieved | Launched from Melmerby Beach ,fairly shallow at deployment position.
Little Harbour | Melmerby Beach | 2021-06-04 | sub-surface buoy | NA | Currently_Deployed | NA
Little Harbour | Red Point | 2018-12-21 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Little Harbour | Red Point | 2019-04-10 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Liverpool Bay | Mersey Point | 2020-06-25 | sub-surface buoy | Acoustic_Release | Retrieved | Strings deployment was successful,falling tide(0.65) at the given lat & log.About a meter swell of water.1m from base of Vr2ar to the anchor ,0.65m from float top to the first sensor.
Liverpool Bay | Mersey Point | 2021-08-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Liverpool Bay | Mersey Point | 2022-08-10 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Lobster Bay | Abbotts Harbour Wharf | 2022-09-29 | attached to fixed structure | Other_MethodAttached to Wharf | Currently_Deployed | Attached to base of telephone pole behind fish plant
Lobster Bay | Angus Shoal | 2022-09-29 | sub-surface buoy | Acoustic_Release,Drag_Line | Currently_Deployed | Edgetech AR#
Lobster Bay | Lobster Bay | 2020-06-22 | sub-surface buoy | Acoustic_Release | Retrieved | Descent sea condition as at the time of deployment,deployed sw of the given position to find the 8m depth.
Lobster Bay | Lobster Bay | 2020-09-16 | sub-surface buoy | Acoustic_Release | Lost | No response from AR during recovery attempt. July 8, 2021
Lobster Bay | Lobster Bay | 2022-06-21 | sub-surface buoy | Acoustic_Release | Currently_Deployed | New deploy
Lobster Bay | Morris Island | 2020-06-16 | sub-surface buoy | Acoustic_Release | Retrieved | Deployed at low tide.5.4m depth of water at Lat:45.791N 65.988W ,east off the given position.
Lobster Bay | Morris Island | 2020-09-15 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Lobster Bay | Morris Island | 2021-07-08 | sub-surface buoy | Acoustic_Release | Retrieved | Recovered on shore by local fisherman July 20, 2021 - retrieved via Charlene Leblanc August 12, 2021
Lobster Bay | Morris Island | 2021-08-12 | sub-surface buoy | Acoustic_Release | Lost | Leeway attempted recovery on June 21, 2022. VR2AR did not respond.
Lobster Bay | Old Point Channel | 2016-02-19 | surface buoy | Surface_Buoy | Retrieved | NA
Lobster Bay | Old Point Channel | 2016-11-26 | surface buoy | Surface_Buoy | Retrieved | Start on Sept. 1/16 @ 12pm, logging every hour
Lobster Bay | Old Point Channel | 2018-03-20 | surface buoy | Surface_Buoy | Lost | Top logger missing upon retrieval
Lobster Bay | Peases Island | 2016-02-19 | surface buoy | Surface_Buoy | Lost | NA
Lobster Bay | Ram Island | 2015-10-27 | attached to gear | Attached to Gear | Retrieved | String tied on cage 10 (empty), Missing Data, Logger redeployed
Lobster Bay | Ram Island | 2016-11-26 | unknown | NA | Retrieved | Start on Sept. 1/16 @ 12pm, logging every hour
Lobster Bay | Ram Island | 2018-03-20 | attached to gear | Attached to Gear | Lost | Start on Sept. 1/16 @ 12pm, logging every hour - Cage 10
Lobster Bay | Ram Island | 2018-05-23 | attached to gear | Attached to Gear | Lost | NA
Lobster Bay | Ram Island | 2020-06-22 | sub-surface buoy | Acoustic_Release | Retrieved | Falling tide,calm sea condition.DOT firmware update and new battery installed.
Lobster Bay | Ram Island | 2021-07-08 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Lobster Bay | Ram Island | 2022-06-21 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Lobster Bay | The Brothers | 2016-02-19 | surface buoy | Surface_Buoy | Lost | NA
Lobster Bay | Tucker Island | 2016-02-19 | surface buoy | Surface_Buoy | Retrieved | NA
Lobster Bay | Tucker Island | 2016-11-26 | surface buoy | Surface_Buoy | Lost | Start on Sept. 1/16 @ 12pm, logging every hour
Lobster Bay | Tucker Island | 2018-03-20 | surface buoy | Surface_Buoy | Lost | Start on Sept. 1/16 @ 12pm, logging every hour
Lobster Bay | Wedgeport | 2020-06-16 | sub-surface buoy | Acoustic_Release | Retrieved | String deployed at falling tide,had to move a bit to the south to get depth needed for deployment.Lat;43.692N, Log;65.955W.
Lobster Bay | Wedgeport | 2020-09-16 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Lobster Bay | Wedgeport | 2021-07-08 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Lobster Bay | Wedgeport | 2022-06-21 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Lobster Bay | Western Shoal | 2022-09-29 | sub-surface buoy | Acoustic_Release,Drag_Line | Currently_Deployed | ORE AR
Mahone Bay | Flat Island | 2018-02-20 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Mahone Bay | Flat Island | 2018-04-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Mahone Bay | Flat Island | 2019-06-06 | sub-surface buoy | Acoustic_Release | Retrieved | Removed RTA DOT instrument, replaced with HOBO
Mahone Bay | Flat Island | 2019-11-17 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Mahone Bay | Flat Island | 2020-11-09 | sub-surface buoy | Acoustic_Release | Retrieved | 5m DOT replaced with HOBO DO. 20m HOBO ProV2 20291428 removed due to placement. VR2 firmware upgraded v5.1.5.
Mahone Bay | Flat Island | 2021-05-20 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Mahone Bay | Flat Island | 2021-11-21 | sub-surface buoy | Acoustic_Release | Retrieved | Buoy and rope covered in mussels
Mahone Bay | Flat Island | 2022-05-24 | sub-surface buoy | Acoustic_Release | Retrieved | VR2AR height of bottom 1.16m. Tide 0.8m.
Mahone Bay | Flat Island | 2022-11-19 | sub-surface buoy | Acoustic_Release | Retrieved | String accidentally released by local researchers OTN
Mahone Bay | Flat Island | 2022-12-05 | sub-surface buoy | Acoustic_Release | Currently_Deployed | String redeployed after being accidentally released by local researchers OTN
Mahone Bay | Heckmans Island | 2022-07-14 | sub-surface buoy | Acoustic_Release,Drag_Line | Retrieved | Edgetech AR 56713
Mahone Bay | Little Rafuse Island | 2018-02-20 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Mahone Bay | Little Rafuse Island | 2018-04-25 | sub-surface buoy | Acoustic_Release | Lost | Surface float cut and two amDOT instruments removed. Lobster gear tangled in anchor. Trap Tag present - Toby Balch following up to ID and retrieve equipment.
Mahone Bay | Little Rafuse Island | 2019-07-14 | sub-surface buoy | Acoustic_Release | Retrieved | Re-deploy after some time out of water, due to cut line and diver recovery
Mahone Bay | Little Rafuse Island | 2019-11-17 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Mahone Bay | Little Rafuse Island | 2020-11-09 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Mahone Bay | Little Rafuse Island | 2021-05-20 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Mahone Bay | Little Rafuse Island | 2021-11-21 | sub-surface buoy | Acoustic_Release | Retrieved | Buoy and string covered in mussels
Mahone Bay | Little Rafuse Island | 2022-05-24 | sub-surface buoy | Acoustic_Release | Retrieved | VR2AR 1.3m off bottom. Tide 0.9m.
Mahone Bay | Little Rafuse Island | 2022-11-19 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Mahone Bay | Snake Island | 2018-02-06 | attached to gear | Attached to Gear | Retrieved | Did not record any data?
Mahone Bay | Snake Island | 2018-04-22 | attached to gear | Attached to Gear | Retrieved | Only recorded from October xx to December 10?
Mahone Bay | Snake Island | 2018-04-29 | attached to gear | Attached to Gear | Retrieved | NA
Mahone Bay | Tancook Wharf | 2022-07-14 | attached to fixed structure | Attached to Wharf | Retrieved | Attached to Big Tancook wharf with steel strapping
Mahone Bay | Upper Blandford | 2020-06-04 | sub-surface buoy | Acoustic_Release | Retrieved | 4 hobos, 1 DOT & a v2rar deployed with the tide falling at the time of deployment.The hobos are set on delay starting(to start reading from 13:00hrs.
Mahone Bay | Upper Blandford | 2020-11-09 | sub-surface buoy | Acoustic_Release | Retrieved | 5m DOT replaced with HOBO DO. 2m & 15m HOBOs replaced due to connection failure.
Mahone Bay | Upper Blandford | 2021-05-20 | sub-surface buoy | Acoustic_Release | Lost | No response to pings upon retrieval attempt - Leeway Nov. 21, 2021
Mahone Bay | Upper Blandford | 2022-05-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Mahone Bay | Upper Blandford | 2022-11-19 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Marie Joseph Harbour | 28 | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Marie Joseph Harbour | 28 | 2016-05-23 | attached to gear | NA | Lost | At the end (south) of the line with the tunicates monitoring plates
Marie Joseph Harbour | Barren Island | 2018-08-08 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Marie Joseph Harbour | Barren Island | 2019-07-02 | sub-surface buoy | Acoustic_Release | Retrieved | Replaced TidbiT MX2303 20397534 from previous deployment. HOBO Pro V2 launched with full battery, 15m log interval (1.2 years of memory), study start: 2019-07-02 15:00:00 UTC
Marie Joseph Harbour | Barren Island | 2020-05-27 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Marie Joseph Harbour | Barren Island | 2021-08-09 | sub-surface buoy | Acoustic_Release | Retrieved | Did not get a picture but there was tons of biofouling (mussels) upon retrieval
Marie Joseph Harbour | Barren Island | 2022-08-16 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Marie Joseph Harbour | Jewers Bay | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Marie Joseph Harbour | Jewers Bay | 2016-05-23 | attached to gear | NA | Lost | At the end of seaweed line near shore
Marie Joseph Harbour | Jewers Bay | 2018-07-13 | attached to gear | Attached to gear | Retrieved | NA
Marie Joseph Harbour | Jewers Bay | 2018-10-25 | attached to gear | Attached to Gear | Currently_Deployed | NA
Merigomish Harbour | Back Harbour | 2017-06-25 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Merigomish Harbour | Back Harbour | 2018-05-19 | attached to gear | Attached to Gear | Retrieved | AANS Vibrio Project
Merigomish Harbour | Olding Island | 2020-10-01 | sub-surface buoy | Acoustic_Release | Retrieved | Deployed from launch on Big Island
Merigomish Harbour | Olding Island | 2021-06-24 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Merigomish Harbour | Olding Island | 2022-06-06 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Merigomish Harbour | Olding Island | 2022-09-30 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Monks Head Harbour | Monks Head | 2021-06-03 | sub-surface buoy | Grapple | Retrieved | NA
Monks Head Harbour | Monks Head | 2021-06-24 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Monks Head Harbour | Monks Head | 2021-10-20 | sub-surface buoy | Acoustic_Release | Retrieved | Offloaded Sal, DOT and VR2AR. Swapped buoy, shortened string and redeployed
Monks Head Harbour | Monks Head | 2022-05-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Monks Head Harbour | Monks Head | 2022-09-29 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Negro Harbour | Ingomar | 2018-02-13 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Negro Harbour | Ingomar | 2018-05-14 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Negro Harbour | Ingomar | 2019-06-28 | sub-surface buoy | Acoustic_Release | Retrieved | Logging interval 15min. 1 year of memory.
Negro Harbour | Ingomar | 2019-12-17 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Negro Harbour | Ingomar | 2020-09-16 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Negro Harbour | Ingomar | 2021-08-12 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Negro Harbour | Ingomar | 2022-08-10 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
New Harbour | The Bull | 2019-01-14 | sub-surface buoy | Acoustic_Release | Retrieved | NA
New Harbour | The Bull | 2019-04-18 | sub-surface buoy | Acoustic_Release | Lost | NA
New Harbour | The Bull | 2020-02-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
New Harbour | The Bull | 2020-10-19 | sub-surface buoy | Acoustic_Release | Lost | Tide 1m falling, sensors replaced on string - No response to recovery ping - Leeway Sept 14, 2021
New Harbour | The Bull | 2022-07-15 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Nyanza Bay | 745 | 2018-10-30 |  | Drag_Line | Lost | Attempted recover on two occassions. Was unable to locate drag line
Owls Head Bay | Owls Head | 2018-02-28 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Owls Head Bay | Owls Head | 2018-09-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Owls Head Bay | Owls Head | 2019-05-30 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Owls Head Bay | Owls Head | 2019-10-19 | sub-surface buoy | Acoustic_Release | Lost | No response to release pings. Attempted recovery by diver was unsuccessful (October 1, 2021)
Pennant Bay | Mackerel Island | 2018-05-01 | sub-surface buoy | Acoustic_Release | Lost | Whale Sanctuary Scoping Project - Drag Anchor @44.4629, -63.67788 Attempted recovery by T. Balch, M. Hatcher failed Leeway attempted recovery August 17th 2021 - failed. Hooked onto something heavy, 500lbs+.
Piper Lake | Piper Lake | 2020-01-15 | sub-surface buoy | Drag_Line | Retrieved | Hobo 0.38 m above bottom, Dot 0.46 m above bottom, Drag anchor at N45.34644 W62.66084
Pomquet Harbour | Summerside | 2022-05-25 | surface buoy | Surface_Buoy | Currently_Deployed | NA
Port La Tour | Taylors Rock | 2018-02-13 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Port La Tour | Taylors Rock | 2018-05-14 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Port La Tour | Taylors Rock | 2019-06-28 | sub-surface buoy | Acoustic_Release | Retrieved | Logging interval 15min. 1 year of memory.
Port La Tour | Taylors Rock | 2019-12-17 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Port La Tour | Taylors Rock | 2020-09-16 | sub-surface buoy | Acoustic_Release | Retrieved | String pulled by fisherman. Returned to CMAR. April 2021. DOT missing
Port La Tour | Taylors Rock | 2021-08-12 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Port La Tour | Taylors Rock | 2022-08-10 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Salt Bay | Big Sluice | 2017-06-21 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Salt Bay | Big Sluice | 2018-05-18 | attached to gear | Attached to Gear | Retrieved | "Western Line - North Side" - AANS Vibrio Project
Scotian Halibut Ltd. | Silo 1 | 2016-01-07 | unknown | NA | Retrieved | land-based inquiry to track tank temperatures
Scotian Halibut Ltd. | Silo 7 | 2016-01-26 | unknown | NA | Retrieved | land-based inquiry to track tank temperatures
Shad Bay | Shad Bay | 2018-02-21 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Shad Bay | Shad Bay | 2018-11-15 | sub-surface buoy | Acoustic_Release | Retrieved | Retrieved by Drag - VR2AR expired August 31, 2019
Sheet Harbour | East Gibbs Island | 2018-02-28 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Sheet Harbour | East Gibbs Island | 2018-09-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Sheet Harbour | East Gibbs Island | 2019-04-12 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Sheet Harbour | East Gibbs Island | 2019-10-20 | sub-surface buoy | Acoustic_Release | Retrieved | Serial # different from previous deployment??
Shelburne Harbour | Eastern Way | 2022-07-15 | sub-surface buoy | Acoustic_Release,Drag_Line | Retrieved | Edgetech AR 53088 or 56251
Shelburne Harbour | McNutts Island | 2018-02-13 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Shelburne Harbour | McNutts Island | 2018-05-14 | sub-surface buoy | Acoustic_Release | Retrieved | Retrieval: no heartbeat. Changed battery and it came back to life. Data record ends at 2018-12-12 1331 UTC.
Shelburne Harbour | McNutts Island | 2019-06-14 | sub-surface buoy | Acoustic_Release | Retrieved | New firmware (2.0.19). New Battery.
Shelburne Harbour | McNutts Island | 2019-11-27 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Shelburne Harbour | McNutts Island | 2020-08-19 | sub-surface buoy | Acoustic_Release | Retrieved | Retrieve and redeployed. High tide going out, 1.93m. 3 HOBOs, 1 DOT, VR2AR Recovered in fishermans gear - returned to DFA via DFO - Nov 4, 2021
Shelburne Harbour | McNutts Island | 2021-08-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Shelburne Harbour | McNutts Island | 2022-08-11 | sub-surface buoy | Acoustic_Release,Drag_Line,Surface_Buoy | Currently_Deployed | NA
Shelburne Harbour | Sandy Point Wharf | 2022-07-15 | attached to fixed structure | Attached to Wharf | Lost | Attached to outer end of wharf and covered by rock. Vandalized and removed during deployment.
Shoal Bay | Borgles Island | 2018-02-28 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Shoal Bay | Borgles Island | 2018-09-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Shoal Bay | Borgles Island | 2019-05-30 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Shoal Bay | Borgles Island | 2019-10-19 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Sissiboo River | Sissiboo | 2021-08-05 | floating dock | Other_MethodAttached to Gear | Currently_Deployed | Tied to floating dock
Sober Island Pond | Sober Island | 2017-06-24 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Sober Island Pond | Sober Island | 2018-06-12 | attached to gear | Attached to Gear | Retrieved | "Center of Lease" - AANS Vibrio Project
Sober Island Pond | Sober Island | 2020-11-19 | surface buoy | Surface_Buoy | Retrieved | Deployed near opening of pond to avoid freezing. Oyster farm folks added extra anchor to avoid drifting. Call Trevor for position info 902-885-3040.
Sober Island Pond | Sober Island | 2021-08-27 | surface buoy | Surface_Buoy | Currently_Deployed | NA
Sober Island Pond | Sober Island | 2022-09-13 | surface buoy | Surface_Buoy | Currently_Deployed | NA
Spry Bay | Spry Harbour | 2018-02-28 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Spry Bay | Spry Harbour | 2018-09-13 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Spry Bay | Spry Harbour | 2019-04-12 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Spry Bay | Spry Harbour | 2019-10-19 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Spry Bay | Spry Harbour | 2020-10-27 | sub-surface buoy | Acoustic_Release | Retrieved | Sensors offloaded, replaced batteries and redeployed
Spry Bay | Spry Harbour | 2021-08-09 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Spry Bay | Spry Harbour | 2022-08-16 | sub-surface buoy | Acoustic_Release | Currently_Deployed | Lots of biofouling here too
St. Anns Bay | Englishtown | 2021-06-15 | surface buoy | Surface_Buoy | Lost | Given to Merinov who has plans in spring 2022 to dive in the area
St. Margarets Bay | Birchy Head | 2018-02-20 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
St. Margarets Bay | Birchy Head | 2018-04-25 | sub-surface buoy | Acoustic_Release | Retrieved | not blinking when retrieved
St. Margarets Bay | Birchy Head | 2019-05-02 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Birchy Head | 2019-11-22 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Birchy Head | 2020-11-08 | sub-surface buoy | Acoustic_Release | Retrieved | 5m DOT replaced with HOBO DO. 20m DOT replaced with HOBO ProV2. VR2 firmware updated.
St. Margarets Bay | Birchy Head | 2021-05-21 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Birchy Head | 2021-11-26 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
St. Margarets Bay | Horseshoe Ledge | 2022-07-14 | sub-surface buoy | Acoustic_Release | Retrieved | SUBS Buoy on VR2AR 548560 / ADCP Altitude: 180cm / Level logger altitude: 85cm
St. Margarets Bay | Northwest Cove Wharf | 2022-07-14 | attached to fixed structure | Attached to Wharf | Retrieved | Attached to Northwest Cove Wharf with steel strapping.
St. Margarets Bay | Shut-In Island | 2018-02-20 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
St. Margarets Bay | Shut-In Island | 2018-04-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Shut-In Island | 2019-05-02 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Shut-In Island | 2019-12-01 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Shut-In Island | 2020-11-08 | sub-surface buoy | Acoustic_Release | Retrieved | 2m DOT replaced with HOBO ProV2. 5m DOT replaced with HOBO DO. 10m HOBO 20291438 replaced due to low battery. VR2 firmware upgrade v5.1.5.
St. Margarets Bay | Shut-In Island | 2021-05-21 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Shut-In Island | 2021-11-26 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Shut-In Island | 2022-05-12 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
St. Margarets Bay | Tilley Point | 2020-05-14 | sub-surface buoy | Acoustic_Release | Retrieved | 1m Tide (40meters depth in the launched position).2 sub subsurface buoy attached to the string.Weather was a bit shitty during the operation.
St. Margarets Bay | Tilley Point | 2020-11-08 | sub-surface buoy | Acoustic_Release | Retrieved | 5m DOT replaced with HOBO DO. VR2 battery replaced and firmware upgrade v5.1.5. Remaining sensors offloaded and redeployed.
St. Margarets Bay | Tilley Point | 2021-05-21 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Tilley Point | 2021-11-26 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Margarets Bay | Tilley Point | 2022-05-12 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
St. Marys Bay | 1012 | 2016-01-21 | surface buoy | Surface_Buoy | Retrieved | NA
St. Marys Bay | 5007 | 2021-03-16 | unknown | Diver | Retrieved | NA
St. Marys Bay | 5007 | 2021-06-17 | surface buoy | Surface_Buoy | Currently_Deployed | NA
St. Marys Bay | 5008 | 2021-03-16 | unknown | Diver | Retrieved | NA
St. Marys Bay | 5008 | 2021-06-17 | surface buoy | Surface_Buoy | Currently_Deployed | NA
St. Marys Bay | Centreville | 2019-01-17 | sub-surface buoy | Acoustic_Release | Retrieved | Bear River
St. Marys Bay | Centreville | 2021-08-05 | surface buoy | Attached to Gear | Retrieved | Hung from compensator buoy handle
St. Marys Bay | Centreville | 2021-11-08 | surface buoy | Attached to Gear | Retrieved | Deployed off compensator buoy.
St. Marys Bay | Centreville | 2022-06-07 | surface buoy | Attached to Gear | Retrieved | Tied to nav buoy
St. Marys Bay | Centreville | 2022-08-22 | surface buoy | Attached to Gear | Currently_Deployed | Tied to nav buoy
St. Marys Bay | Church Point 1 | 2020-02-23 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Marys Bay | Church Point 2 | 2020-02-23 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Marys Bay | Comeauville Wharf | 2022-09-13 | attached to fixed structure | Attached to Wharf | Currently_Deployed | NA
St. Marys Bay | East Ferry | 2016-01-21 | surface buoy | Surface_Buoy | Lost | NA
St. Marys Bay | Long Beach | 2018-05-17 | surface buoy | Surface_Buoy | Lost | Buoy moved back to initial deployment location - November 9, 2018
St. Marys Bay | Long Beach | 2018-11-09 | surface buoy | Surface_Buoy | Lost | Tidbit added to replace lost aquaMeasure DOT
St. Marys Bay | Long Beach | 2019-01-17 | sub-surface buoy | Acoustic_Release | Lost | NA
St. Marys Bay | Long Beach | 2020-07-16 | sub-surface buoy | Acoustic_Release | Retrieved | Tide rising
St. Marys Bay | Long Beach | 2020-11-30 | sub-surface buoy | Acoustic_Release | Retrieved | Deployed during harsh weather, position slightly different than previous position. Unable to get photos safely
St. Marys Bay | Long Beach | 2021-06-17 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Marys Bay | Long Beach | 2021-11-08 | sub-surface buoy | Acoustic_Release | Retrieved | Retrieved and not redeployed
St. Marys Bay | Long Beach | 2022-08-22 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
St. Marys Bay | Long Island | 2018-05-17 | surface buoy | Surface_Buoy | Lost | Buoy not found - November 9, 2018
St. Marys Bay | Long Island | 2019-01-17 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Marys Bay | Long Island | 2022-08-22 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
St. Marys Bay | Long Island 1 | 2020-07-16 | sub-surface buoy | Acoustic_Release | Retrieved | Tide falling
St. Marys Bay | Long Island 1 | 2020-11-29 | sub-surface buoy | Acoustic_Release | Lost | Tide 1.9m falling. No response to pings upon retrieval attempt (June 16, 2021)
St. Marys Bay | Long Island 2 | 2020-07-16 | sub-surface buoy | Acoustic_Release | Retrieved | Neutral tide
St. Marys Bay | Long Island 2 | 2020-11-29 | sub-surface buoy | Acoustic_Release | Retrieved | Tide 1.5m falling
St. Marys Bay | Long Island 2 | 2021-06-17 | sub-surface buoy | Acoustic_Release | Retrieved | A lot of biofoul made string very heavy
St. Marys Bay | Long Island 2 | 2021-11-08 | sub-surface buoy | Acoustic_Release | Retrieved | Retrieved and not redeployed
St. Marys Bay | Long Island 2 | 2022-08-22 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
St. Marys Bay | Mid Bay | 2016-01-21 | surface buoy | Surface_Buoy | Retrieved | Missing Data
St. Marys Bay | Sandy Cove St. Marys | 2020-07-16 | sub-surface buoy | Acoustic_Release | Retrieved | Tide rising
St. Marys Bay | Sandy Cove St. Marys | 2020-11-30 | sub-surface buoy | Acoustic_Release | Retrieved | Tide 5.1m falling. Deployed during harsh weather
St. Marys Bay | Sandy Cove St. Marys | 2021-06-17 | sub-surface buoy | Acoustic_Release | Retrieved | NA
St. Marys Bay | Sandy Cove St. Marys | 2021-11-08 | sub-surface buoy | Acoustic_Release | Retrieved | Retrieved and not redeployed
St. Marys Bay | Sandy Cove St. Marys | 2022-08-22 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
St. Marys Bay | St Marys Bay Center | 2022-09-13 | sub-surface buoy | Acoustic_Release,Drag_Line | Currently_Deployed | Edgetech AR#56713
St. Peters Inlet | 778 | 2018-10-30 |  | Drag_Line | Lost | Attempted recover on two occassions. Was unable to locate drag line
St. Peters Inlet | 994 | 2018-10-30 |  | Drag_Line | Lost | Attempted recover on two occassions. Was unable to locate drag line
Strait of Canso | Canso Lock | 2015-11-26 | attached to gear | Attached to Gear | Retrieved | NA
Strait of Canso | Canso Lock | 2016-09-01 | attached to gear | Attached to Gear | Retrieved | Contacts to get into the loch: Arden Boutlier 902-623-0451, Emerson 902-227-7480, Ben Seward 902-625-4166, OJ Boudreau 902-625-1973
Strait of Canso | Canso Lock | 2018-02-27 | attached to gear | Attached to Gear | Retrieved | NA
Strait of Canso | Eddy Cove | 2018-02-27 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Strait of Canso | Eddy Cove | 2018-07-04 | sub-surface buoy | Acoustic_Release | Retrieved | Found logging interval set to 15min, rather than usual 1hr.
Strait of Canso | Eddy Cove | 2019-06-21 | sub-surface buoy | Acoustic_Release | Retrieved | Logging interval set to 15min.
Strait of Canso | Pirate Harbour | 2018-02-27 | sub-surface buoy | Acoustic_Release | Retrieved | CMAR
Strait of Canso | Pirate Harbour | 2018-07-04 | sub-surface buoy | Acoustic_Release | Retrieved | 15 min logging interval instead of usual 1hr.
Strait of Canso | Pirate Harbour | 2019-06-21 | sub-surface buoy | Acoustic_Release | Retrieved | 15min logging interval
Strait of Canso | Pulp Mill | 2015-11-26 | attached to gear | Attached to Gear | Retrieved | NA
Strait of Canso | Pulp Mill | 2016-09-01 | attached to gear | Attached to Gear | Lost | NA
Strait of Canso | Pulp Mill Site 2 | 2020-05-01 | sub-surface buoy | Acoustic_Release | Lost | launched at low tide with two floats attached the big float is about 1.5m below the water surface while the smaller one was just tied to the top of vr2ar with a 1m long rope.
Tatamagouche Bay | Malagash | 2020-10-01 | sub-surface buoy | Acoustic_Release | Retrieved | Accessed beach with permission from land owner at Sunset Watch Family Campground on Peninsula Point Rd.
Tatamagouche Bay | Malagash | 2021-06-24 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Tatamagouche Bay | Malagash | 2022-06-03 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Tor Bay | Center Bay | 2018-08-07 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Tor Bay | Center Bay | 2019-04-18 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Tor Bay | Center Bay | 2020-02-25 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Tor Bay | Center Bay | 2020-10-13 | sub-surface buoy | Acoustic_Release | Retrieved | Tide 1.5m, rough weather and seastate may cause drift during descent
Tor Bay | Center Bay | 2021-09-14 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Tor Bay | Center Bay | 2022-07-29 | sub-surface buoy | Acoustic_Release | Currently_Deployed | NA
Tor Bay | English Harbour | 2019-02-05 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Tor Bay | Larrys River | 2019-02-05 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Tor Bay | Tanner Island | 2019-02-05 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Whitehead Harbour | 1199 | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Whitehead Harbour | 1199 | 2015-11-18 | attached to gear | Attached to Gear | Retrieved | NA
Whitehead Harbour | 1199 | 2016-06-07 | attached to gear | NA | Retrieved | block #7, line #4 between yellow, blue buoys
Whitehead Harbour | Bald Rock | 2019-01-14 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Whitehead Harbour | Bald Rock | 2019-04-18 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Whitehead Harbour | Bald Rock | 2020-02-25 | sub-surface buoy | Acoustic_Release | Retrieved | Relocate
Whitehead Harbour | Bald Rock | 2020-10-20 | sub-surface buoy | Acoustic_Release | Lost | No response to release pings (September 14, 2021
Whitehead Harbour | Burnt Island | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Whitehead Harbour | Burnt Island | 2016-06-07 | attached to gear | NA | Retrieved | block #1,, line #5
Whitehead Harbour | Burnt Island | 2018-07-11 | attached to gear | Attached to gear | Retrieved | Block 1, Line 5
Whitehead Harbour | Burnt Island | 2018-10-26 | attached to gear | Attached to Gear | Retrieved | Block 1, Line 5
Whitehead Harbour | Burnt Island | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | Block 1, Line 5
Whitehead Harbour | Fishermans Island | 2018-07-11 | surface buoy | Surface_Buoy | Retrieved | NA
Whitehead Harbour | Fishermans Island | 2018-10-26 | surface buoy | Surface_Buoy | Retrieved | NA
Whitehead Harbour | Fishermans Island | 2019-04-18 | surface buoy | Surface_Buoy | Retrieved | NA
Whitehead Harbour | Fishermans Island | 2019-10-10 | surface buoy | Surface_Buoy | Retrieved | NA
Whitehead Harbour | Fishermans Island | 2020-09-10 | sub-surface buoy | Acoustic_Release | Retrieved | Photos on CMAR onedrive. SAL sensor missing upon retrieval
Whitehead Harbour | Fishermans Island | 2021-09-08 | sub-surface buoy | Acoustic_Release | Retrieved | NA
Whitehead Harbour | Harbour Island | 2021-09-08 | surface buoy | Surface_Buoy | Retrieved | NA
Whitehead Harbour | Northeast Branch | 2018-07-11 | attached to gear | Attached to gear | Retrieved | Tied to only backline left floating
Whitehead Harbour | Northeast Branch | 2018-10-26 | attached to gear | Attached to Gear | Retrieved | Tied to only backline left floating
Whitehead Harbour | Northeast Branch | 2019-04-18 | attached to gear | Attached to gear | Retrieved | Tied to only backline left floating
Whitehead Harbour | Northeast Branch | 2020-09-10 | attached to gear | Surface_Buoy | Retrieved | Moored to Oyster line. HOBO 10755206 ~4m up from anchor. Photos on onedrive
Whitehead Harbour | Northeast Branch | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | NA
Whitehead Harbour | Northwest Branch | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Whitehead Harbour | Northwest Branch | 2016-06-07 | attached to gear | NA | Retrieved | block #7, line #2
Whitehead Harbour | Northwest Branch | 2018-07-11 | attached to gear | Attached to gear | Retrieved | Block 7, Line 2, north end
Whitehead Harbour | Northwest Branch | 2018-10-26 | attached to gear | Attached to Gear | Retrieved | Block 7, Line 2, north end
Whitehead Harbour | Northwest Branch | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | Block 7, Line 2, north end
Whitehead Harbour | The Basin | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Whitehead Harbour | The Basin | 2016-06-07 | attached to gear | NA | Lost | block #1, line #10, side inside the lease where yellow buoy; temp logger between 2 black buoy
Whitehead Harbour | The Basin | 2017-06-26 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Whitehead Harbour | The Basin | 2018-05-28 | attached to gear | Attached to Gear | Retrieved | AANS Vibrio Project
Whitehead Harbour | The Basin | 2018-07-11 | attached to gear | Attached to gear | Retrieved | Shore Side Pod Line, Between Buoy 5, 6
Whitehead Harbour | The Basin | 2018-10-26 | attached to gear | Attached to Gear | Retrieved | Shore Side Pod Line, Between Buoy 5, 6
Whitehead Harbour | The Basin | 2019-04-18 | attached to gear | Attached to gear | Retrieved | Shore Side Pod Line, Between Buoy 5, 6
Whitehead Harbour | The Basin | 2020-09-10 | attached to gear | Surface_Buoy | Retrieved | Moored to oyster line. Photos on onedrive.
Whitehead Harbour | The Basin | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | NA
Whitehead Harbour | The Basin | 2022-09-12 | attached to gear | Attached to Gear | Currently_Deployed | Line 3, East End
Whitehead Harbour | The Basin North | 2018-10-26 | attached to gear | Attached to Gear | Lost | May 2018 Vibrio Project Logger - Redeployed.Not found September 8, 2021
Whitehead Harbour | The Basin North | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | NA
Whitehead Harbour | The Channel | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Whitehead Harbour | The Channel | 2016-06-07 | attached to gear | NA | Retrieved | block #1, 2 blue buoys at the end of the line
Whitehead Harbour | The Channel | 2018-07-11 | attached to gear | Attached to gear | Retrieved | Block 1, line 2, NE end
Whitehead Harbour | The Channel | 2018-10-26 | attached to gear | Attached to Gear | Retrieved | Block 1, line 2, NE end
Whitehead Harbour | The Channel | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | NA
Whitehead Harbour | White Island | 2016-06-07 | attached to gear | NA | Retrieved | line #1, top end between 2 blue buoys
Whitehead Harbour | White Island | 2018-07-11 | attached to gear | Attached to gear | Retrieved | Line 2, North End, "Behind the knot"
Whitehead Harbour | White Island | 2018-10-26 | attached to gear | Attached to Gear | Retrieved | Line 2, North End, "Behind the knot"
Whitehead Harbour | White Island | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | Line 2, North End, "Behind the knot"
Whitehead Harbour | Yankee Cove | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Whitehead Harbour | Yankee Cove | 2016-06-07 | attached to gear | NA | Retrieved | line #3 near single blue buoy
Whitehead Harbour | Yankee Cove | 2018-07-11 | attached to gear | Attached to gear | Retrieved | Line 3, East End
Whitehead Harbour | Yankee Cove | 2018-10-26 | attached to gear | Attached to Gear | Retrieved | Line 3, East End
Whitehead Harbour | Yankee Cove | 2021-09-08 | attached to gear | Attached to Gear | Retrieved | Line 3, East End
Whycocomagh Basin | 0814x East | 2020-09-09 | surface buoy | Surface_Buoy | Retrieved | NA
Whycocomagh Basin | 0814x West | 2020-09-09 | surface buoy | Surface_Buoy | Retrieved | NA
Whycocomagh Basin | Deep Basin | 2016-12-07 | sub-surface buoy | Diver | Retrieved | deployed a vertical chain of 4 HOBO logging thermographs at 4 depths, suspended from sub-surface float 2m below surface.
Whycocomagh Basin | Deep Basin | 2018-05-31 |  | Diver | Retrieved | Vertical Chain of 4 HOBOs, 3 DOTs
Whycocomagh Basin | Deep Basin | 2018-09-05 |  | Diver | Lost | Vertical Chain of 4 HOBOs, 3 DOTs Evidence of drag by ice. Further search with side scan planned
Whycocomagh Bay | Aberdeen | 2018-06-01 |  | Diver | Retrieved | Vertical Chain of 4 HOBOs, 2 DOTs
Whycocomagh Bay | Aberdeen | 2018-08-21 |  | Diver | Lost | Vertical Chain of 4 HOBOs, 3 DOTs Evidence of drag by ice. Further search with side scan planned
Wine Harbour | Wine Harbour | 2015-09-08 | unknown | Drag_Line | Retrieved | NA
Wine Harbour | Wine Harbour | 2015-11-17 | attached to gear | Attached to Gear | Retrieved | NA
Wine Harbour | Wine Harbour | 2016-05-23 | attached to gear | NA | Retrieved | Block #3, line #1 (closest to shore), same line than tunicates monitoring plates
Wine Harbour | Wine Harbour | 2017-06-26 | attached to gear | Attached to Gear | Retrieved | 2017 Vibrio Project
Wine Harbour | Wine Harbour | 2018-05-29 | attached to gear | Attached to Gear | Retrieved | "Block 3, Line 9" - AANS Vibrio Project
Wine Harbour | Wine Harbour | 2018-07-12 | surface buoy | Surface_Buoy | Retrieved | Between block 3, 4. Yellow NSDFA surface buoy
Wine Harbour | Wine Harbour | 2018-10-25 | attached to gear | Attached to Gear | Lost | 2018 Vibrio Logger - Redeployed for winter
Wine Harbour | Wine Harbour | 2019-04-22 | surface buoy | Surface_Buoy | Retrieved | Yellow NSDFA marked buoy.
Wine Harbour | Wine Harbour | 2020-09-10 | attached to gear | Surface_Buoy | Retrieved | Moored to oyster line. Photos on onedrive.
Wine Harbour | Wine Harbour | 2021-09-09 | surface buoy | Surface_Buoy | Retrieved | NA
Wine Harbour | Wine Harbour | 2022-11-04 | surface buoy | Surface_Buoy | Currently_Deployed | NA
Woods Harbour | Camerons Cove | 2019-02-07 | sub-surface buoy | Acoustic_Release | Retrieved | Drag Anchor @ 43.49693, -65.73798
Woods Harbour | Outer Island | 2019-02-07 | sub-surface buoy | Acoustic_Release | Lost | Drag Anchor @ 43.46897, -65.73985. 01/09/2020 - retrieval attempted unsuccessfully. Risk of losing grapple to other moorings. Equipment may still be present

## configurations
sub-surface buoy | Attached to subsurface buoy. Typically has acoustic release but sometimes retrieved by diver or drag line. Does not float with tide.
surface buoy | Attached to surface buoy. Floats with tide.
attached to gear | Typically attached to aquaculture gear (esp. if associated with lease) but sometimes could be other structure. Floats with tide
attached to fixed structure | Typically attached to wharf but sometimes could be bridge or pole. Does not float with tide
floating dock | Attached to a floating dock. Floats with tide.
unknown | Configuration not indicated in deployment log.